IMechE Report: Scotland’s Energy Policy

TF 1st Draft (May 2011) – IMA comments 11.06.2011

Introduction

The announcement in April 2011 by First Minister Alex Salmond that the Scottish Government had increased its target for the generation of electricity from renewable energy sources to 100% (from the 80% announced in September 2010 and 50% previously) developed considerable interest in the UK press and broadcast media.  Prior to this Scotland had already unilaterally declared that the overall provision of energy from renewables as a proportion of the country’s total energy demand should be 20%, which in itself exceeds the figure that the EU Renewable Energy Directive requires the UK as a whole (15%) to meet.  Similarly the 2020 target for the reduction in greenhouse gas (GHG) emissions relative to 1990 levels is greater in Scotland (42%) than is the case for the entire UK (34%).  However, despite setting these challenging targets and adopting the ambitious aspirations they represent, the government does not appear at this time to have a coherent plan to support delivery of this large scale engineering task over the next 9 years.  Indeed, there are no credible strategies, from a technical point of view, published by Government and available within the public domain.

In July 2009 a collaborative group of NGOs published an influential report which attempted to demonstrate that renewable energy could meet between 60% and 143% of Scotland’s projected annual electricity demand by 2030. More recently the Scottish Renewable Forum (SRF) have published various scenarios of higher and lower proportions of renewable electricity, as well as higher and lower levels of electricity demand, but do not appear to propose a practical strategy for achieving the then 80% renewable electricity target. Further, the recently-published Compendium of Scottish Energy Statistics and Information claims to demonstrate how a target of 80% renewable electricity by 2020 can be achieved (though it actually shows only around 75%). However, it should be noted that in this document the 20.5 GW of power identified to come from ‘renewables’ is a figure for ‘installed capacity’ and does not therefore take account of the intermittent character of some of these energy sources. For example, in the Compendium scenario onshore and offshore wind account for 86% of the renewable electricity generated with no allowance having been made for the requirement of other (non-renewable) power plant to back up this intermittent form of generation.  There are clearly energy security issues arising from this approach. From an engineering perspective, none of these reports presented energy plans or policy recommendations which would actually deliver the desired outcomes.

The Renewable Heat Action Plan for Scotland expands on the statement in the Compendium that: “1As heat accounts for around half of Scotland’s total energy use...  The Renewable Heat Action Plan for Scotland (2009) set a target of 11% of the heat consumed in 2020 to come from renewable sources, this target is equal to an estimated 6,420 GWh of heat energy from renewable sources by 2020. Scotland is currently (2009) producing some 1.4% (845 GWh) of total heat use from renewable sources...”  If 11% is represented by 6420 GWh/y, then the total heat demand is around 58 TWh/y, which appears low compared to other statistics, see below.

In December 2010 the UK Department for Energy and Climate Change (DECC) published its annual ‘Energy Trends’ document which reported the proportion of renewable electricity generated in Scotland to be 20.9% (but the actual makeup of this number in types of renewables is not specified).  Although this overall figure is encouraging, it is important to note that in Scotland the renewables target (100% of electricity by 2020) is expressed in ‘Energy Trends’ as “generation by proportion of gross electricity consumption”. The latter is defined as “generation plus transfers into Scotland less transfers out of Scotland”.  In 2006 this percentage was 16.9% rising to 20.2% in 2007, 22% in 2008 and 27.4% in 2009. However, this could be misleading as it appears to be a statistical calculation which is notpractically measurable. Currently, whether these imports and exports of electricity were generated from renewable resources cannot be known.

In the absence of a credible publicly presented plan to deliver Scotland’s renewable energy targets, this report by the Institution of Mechanical Engineers considers from an engineering perspective what will be necessary to meet the declared aspirations and within what time-frame. The analysis work was undertaken within the context of the generally-accepted SMART principles for project delivery, i.e. the targets must be: Specific, Measurable, Achievable, Realistic & Time-based.  Engineering experience has shown that project targets which are not bound by these constraints are rarely reached.

The ‘Energy Hierarchy’ and Sustainable Energy Policy

To guide the development of sustainable energy policy the Institution created the ‘Energy Hierarchy’, a concept which has been adopted by many organisations in the UK, as well as by engineering institutions around the world.

The concept is a simple one, although it has profound implications for energy strategy or policy.  The ‘Energy Hierarchy’ states that a competent energy policy must start with energy demand reduction and then with improving energy efficiency before different types of energy supply are considered.  The Energy Hierarchy is summarised as follows:

Most sustainable

Priority 1	Energy Conservation

Priority 2	Energy Efficiency

Priority 3	Utilisation of Renewable, Sustainable Resources

Priority 4	Utilisation of other Low-GHG-Emitting Resources

Priority 5	Utilisation of Conventional Resources as we do now.

Least sustainable

Energy conservation is about eliminating the need for the energy demand in the first place.  The concept is simply that a kilowatt saved (or not used) is much more valuable than a kilowatt supplied, no matter what the source.  Energy conservation can often be achieved through behavioural changes; for example, not making a journey and conducting a meeting by teleconference instead.  Nevertheless, engineering solutions such as smart meters and real-time displays also have an important role to play in energy conservation, though how much they will actually influence behaviour change remains to be seen.

The second tier of the hierarchy, ‘energy efficiency’, affects both energy demand and energy supply.  On the demand side, enormous savings can be made by the use of more efficient domestic appliances, more efficient vehicles, more efficient heat delivery systems, and so on.  However, it is on the supply side that energy efficiency can significantly affect Scotland’s future choices.

In a modern fossil-fuelled power station for example, the steam turbine generator system can have its efficiency significantly increased by the use of supercritical or ultra-supercritical steam, which gives a much larger power output from the same quantity of fuel.  Further, if the waste heat energy produced by the plant is harnessed and utilised, as is commonplace in most other European countries, the overall efficiency of the power plant is greatly increased; the heat energy is provided from the same amount of fuel that would have been used to generate the electricity in the first place, thereby leading to an efficiency gain.

The other three tiers of the Hierarchy are concerned with the supply-side for energy and assume that demand reduction and efficiency have already been considered and implemented.  The 3rd tier is about the utilisation of renewable, sustainable resources to supply energy in many forms, not solely electricity.  The latter is the focus of Scottish Government’s view on energy provision and clearly this misses the contribution to be made by delivery of renewable energy in other forms, such as heat, and from other tiers in the Hierarchy.

The 4th tier concerns the utilisation of low-GHG-emitting resources; a good example of this is the use of nuclear generation for base-load electricity, as is currently the case in Scotland.  Although nuclear power is not accepted by some as a sustainable technology, if an important objective of an energy strategy is to support a reduction in GHG emissions from electricity generating plant, this is a much more sustainable option to include than some other conventional methods. Another example of a tier 4 approach is utilization of a Carbon-dioxide Capture and Storage (CCS) system to reduce CO2 emissions from conventional fossil fuel plant, although this may also significantly reduce the plant’s energy efficiency.

The 5th tier of the Hierarchy, namely the utilisation of conventional resources as we do now is clearly the least sustainable option and is unlikely to form any part of a future sustainable energy strategy.

The main purpose of the Energy Hierarchy is as a tool that can guide policy makers towards the most sustainable solutions for future energy needs.  Each policy development must however be considered on its own merits;  for example, a policy that is based on using only one type of intermittent resource, no matter how renewable, to provide all of its energy, or even electricity, needs is extremely unlikely to be sustainable in overall terms.

-Breakout box start-

1Tension between energy and emissions policies

In formulating policy recommendations the Institution has recognised for a number of years that there is often significant tension between a viable energy policy and a viable greenhouse gas emissions policy.  For example, deploying a large percentage of intermittent ‘renewable’ energy sources in a system for electricity generation might require the provision of back-up capacity in the form of fossil fuel fired plant, such as gas turbine power generation, which does not necessarily reduce overall emissions or improve security of energy supply. There are often unwarranted assumptions made that renewable energy will automatically have a climate change mitigation effect or enhance energy security  and care must therefore be taken in this regard when developing plans to deliver GHG-reduction targets.

The March 2011 edition of DECC’s UK  ‘Energy Trends’7showed that the penetration of renewables in electricity generation actually fell slightly from 7.0% in 2009 to 6.9% in 2010.    Leaving aside the fact that 6.9% is drastically short of the 10% target for 2010, it must also be noted that  power generation from nuclear reduced from 17.6% to 15.6% and coal-fired power generation increased from 27.8% to 28.4%.  This means that, as well as the disappointing trends in the proportion of renewable electricity, the decrease in the type of power generation from the lowest GHG-emitting generator and the increase in the highest GHG-emitting generator, inevitably means that there will have been a large increase in GHG emissions over the year in question.

-Breakout box ends-

-Breakout box starts-

Energy is not electricity alone

The term ‘Energy’ does not mean ‘Electricity’ alone. This confusion appears very frequently in the press and broadcast media, as well as government communications. A recent example was the announcement by the Scottish Government in September 2010 of the previous 80% target for renewable electricity: “Target for renewable energy now 80 per cent”; in fact, the renewable energy target remained at 20 per cent.

Technically, ‘energy’ is regarded as the actual amount of energy produced (or consumed) and is typically expressed in joule (J), whereas ‘electricity’ is generally considered in terms of ‘power’ which is measured in watt (W); there is a time relationship between the two in that power is a measure of energy generated/consumed per unit time (1W = 1 J/s).  In the energy industry, it has (unfortunately) become customary for the term ‘power’ to be used to mean ‘electricity’ while ‘energy’ is generally used to refer to the non-electrical sector, e.g. ‘heat energy’.

-Breakout box ends-

Installed capacity and intermittency.

When statements are made concerning ‘power’ or ‘energy’, it is of crucial importance that the differences between ‘installed generation capacity’, usually measured in ‘Mega-Watts’ (Million Watts), MW, ‘gigawatt’ (Billion Watts), GW, or ‘Tera-Watts’ (Trillion Watts), TW, and the actual amount of energy produced or consumed (in GWh, gigawatthour, or TWh, Tera-Watt hours) is clearly understood.  For example, the ‘installed capacity’ of an electricity generating plant is generally the maximum output that the plant can produce.  The power it actually produces at a given time depends on the circumstances: for conventional generating plant (e.g. coal or gas fired plant), where power can be supplied on demand, the actual output will be determined by customer demand at any given time; for intermittent generating plant, such as wind, the actual power output at a given time is dependent on the availability of the wind, not on customer demand.

A conventional generating plant is typically available for operation for more than 90% of the time (10% being required for maintenance) and capable of generating at its full capacity for that time; a wind power plant, on the other hand, can only generate electricity when the wind is blowing at a speed within a suitable range and the amount of power it will actually produce is entirely dependent on that velocity.  At its minimum wind speed, the plant will generate virtually nothing. It will reach its full power output only at considerably higher wind speeds, at its design point, typically a velocity of 12-15 m/s. If the wind speed increases further to exceed a critical maximum the turbine will need to be shut down.  This in turn means that the output from any given wind farm (say, for argument’s sake, with an installed capacity of 100 MW) will vary substantially in accordance with the wind speed, not customer demand.  Thus, at any given time, the output of a wind farm will be between 0 and 100 MW (for the example given) and it is not possible to forecast the actual output at any given time.

To overcome this problem and understand the likely output of the wind farm it is necessary to look at the amount of energy generated over a considerable period, typically one year. This will help to ensure that all of the natural and weather cycles are accounted for (there are certain times of year which are much windier than others).  The amount of electricity generated by a power plant over a given period is easy to measure.  Annualising these figures leads to the energy produced being expressed, for example, in GWh per year or GWh/y.  This measured output can then be compared with the theoretical output that would have resulted if the generating plant were able to operate at full power for the full year, which is determined by multiplying the installed capacity by the number of hours in the year (8760).  The difference between this theoretical value and the actual output of the generating plant is known as the ‘Load Factor’, or sometimes ‘Capacity Factor’ and these numbers are typically over 90% for conventional electricity generating plant and around 25-30% for wind generating plant, depending on location.  It should be noted, however, that Load Factor can only be applied to the amount of electricity produced in GWh/y not to the power rating;  it is not technically-credible to apply a 30% Load Factor to the installed capacity of a 100MW-rated wind generating plant and conclude that on an annualised basis it produces 30MW.

In a recent statement, the Renewable Energy Foundation stated: “Variability over short time scales has been much discussed, and it is now well known that low wind conditions can prevail at times of peak load over very large areas. For example, at 17.30 on the 7th of December 2010, when the 4th highest United Kingdom load of 60,050 MW was recorded, the UK wind fleet of approximately 5,200 MW was producing about 300 MW... One of the largest wind farms in the United Kingdom, the 322 MW Whitelee Wind Farm [south of Glasgow] was producing approximately 5 MW...”  The incidence of extreme weather events of this type are projected to occur more frequently in the coming decades, as a result of climate change induced by past emissions, thereby exacerbating the challenge of reducing future GHG emissions through the utilisation of renewable energy sources such as wind.

Scotland’s current ‘Energy Balance’

In general UK energy consumption is divided into three main areas of demand; Heat Energy, Energy for Transport and Electricity.  There will be some overlap between these, for example, where electricity is used to provide heating and where a small amount of electricity is used for transport, e.g. for railways.  However, these overlaps can be filtered out and the proportion of energy supply which is used to satisfy each field of demand can be accurately estimated. In the UK as a whole, the total energy demand of 1695 TWh/y in 2008 was split:   Heat Energy 710 TWh/y (41.9%), Energy for Transport 598 TWh/y (35.3%)  and Electricity 387 TWh/y (35.3%).

Despite numerous approaches, we have been unable to discover a similar breakdown of energy demand in Scotland; the best available figures we have found are from the SRF ‘Route Map’ of 2006, see Table 1;  this presents the likely energy ‘split’ for Scotland in 2010 and 2020. On the basis of this split the previous 2020 renewable energy targets of 50% of Electricity, 11% of Heat and 10% of Transport were established (to meet the overall 20% of all energy target).

Table 1

2010					2020

Electricity:	36.6 TWh/y	(20.3%)	38.4 TWh/y	(21%)

Heat:	92.3 TWh/y	(51.3%)	89.7 TWh/y	(49%)

Transport:	 51.0 TWh/y	(28.3%)	55.0 TWh/y	(30%)

Total:	179.9 TWh/y		183.1 TWh/y

The recently published Compendium states that 1“heat accounts for around half of Scotland’s total energy use” (which agrees with Table 1) and that the 11% renewable heat target for 2020 equates to 6,420 GWh.  From this it can be calculated that total heat energy is about 58,400 GWh/y and therefore total energy demand is around 116.7 TWh/y, very considerably less than the figures in Table 1.  However, the Compendium also shows that total Electricity generation amounts to 51 TWh/y in 2009, which means that Electricity would represent around 44% of all energy, which is inconsistent with Table 1.

A 2010 set of figures from SRF deviate from those in Table 1 and show Electricity representing about 32%, Heat 43% and Transport 25% out of a total of 136 TWh/y.  There is thus to-date no consistency on the data for the point of departure for Scotland’s future energy policy and it therefore follows that the achievement of any projected future target will be difficult to measure.

However, regardless of the exact current split between electricity, heat and transport, it is clear that electricity is by far the smallest of the three fields of energy demand in Scotland.  Paradoxically it is the future provision of electricity, and the reduction of GHG emissions therefrom, that occupies the bulk of energy related Government policy and legislation both in Scotland and the UK as a whole. Consideration of the figures discussed above leads to the conclusion that even if it were possible to fully deliver 100% of Scotland’s electricity supply from renewable resources in a robust, secure and reliable manner, this would barely achieve the overall 2020 20% target for energy provision from renewable sources set by the Scottish Government.  It follows that much more emphasis needs to be placed on developing the use of renewable energy sources for heat and transport in order to meet the overall renewable energy targets.

Scotland’s 2020 commitments for Energy and Emissions

Although Scotland is legally bound to meet only the same EU target for renewable energy supply as the rest of the UK, i.e. 15%, the Scottish Government has made its own commitment to achieve 20%.

Energy policy in the UK is the remit of DECC and is not devolved to the Scottish Government; in this sense, Scotland does not formally have an independent ‘energy policy’ for which it can be held accountable.  Thus Scotland’s legal commitment on the proportion of total energy demand supplied from renewable resources is the same as for the rest of the UK; that is 15%.  This figure is not an aspiration, or a well-intentioned ‘target’, but a binding commitment upon the UK enshrined in the EU Renewable Energy Directive of 2009. It follows that there will be penalties imposed upon the UK for failure to fulfil the commitment by the specified date; though these are not as yet known.

When the previous UK Labour Government came to power in 1997, it set a target for 10% of electricity to be generated from renewable resources by 2010; from a starting point of around 2% (by the end of 2010 this figure was not achieved, the actual share being just 6.9% - little more than two-thirds of the target)6.  Recognising that Scotland had an existing legacy of hydro-electric power plants, which in 1997 already provided about 10% of its electricity, Scotland was set a higher, though less onerous, target of 18%.  The subsequent, far greater, rate of installation of renewable electricity technologies in Scotland than in the rest of the UK meant that by 2009 a figure of around 20% was reached5,6, which is very encouraging.  Nevertheless, it should be noted that this is a percentage of a lower than anticipated electricity demand in Scotland, largely as a result of the recession, and that in 2009 around half of Scotland’s renewable electricity output was supplied from the legacy hydro-electric plants (even though the new one at Glen Doe was out of action for most of the year).

Scotland has substantial potential resources for renewable energy and partly in recognition of this the Government has committed itself to exceeding the UK’s 2020 commitment.  Building on the sector figures given by SRF for energy demand9, it can be calculated that the proportions to achieve this overall 20% target would be 54% of electricity, 11% of energy for transport and 11% of heat energy to be provided from renewable resources (see Fig.1).  From the very low level of renewable penetration in both heat and transport, and the lack of legislation in place to achieve the targets in these areas, there has to be some doubt as to whether these can be realistically achieved in 9 years.  Indeed, SRF’s own estimates9 were that 6.4% of transport energy and 5% of heat energy would come from renewables by 2020 and we see no evidence to support higher figures based on present policies.

(11%)

(11%)

(54%)

Renewables

Fossil

Current  SRF  forecast 6.4%

Current  SRF forecast 5.0%

(30%)

(49%)

(21%)

%

Current  SRF forecast  54%

Energy for Transport

Heat Energy

Electric Power

50

75

25

0

100

20

Fig.1 Scotland’s 2020 Energy Mix (based on SRF Route Map)

In the case of GHG emissions, Scotland’s targets are similar to those set for the rest of the UK; a 42% reduction in ‘emissions’ below 1990 levels by 2020 with an 80% reduction by 2050 (the equivalent numbers for the UK as a whole are 34% and 80%).  Achievement of these figures is not solely reliant on reducing emissions in the energy sector, but will depend on a broad range of issues such as how much manufacturing takes place in Scotland rather than abroad, how much waste is recycled in Scotland rather than just exported and whether ‘embodied carbon’ in imported products is accounted for in Scotland.  Furthermore, since a diminishing amount of electricity (and heat energy) will be delivered from nuclear power stations in Scotland, this means that the benefit of the low GHG-emissions characteristics of such plants will be lost, which will have a further impact on the emissions targets.  It therefore becomes clear that if a target of 11% of heat and 11% of energy for transport is achieved from renewables, then a full 89% of both heat and transport energy will need to be sourced from fossil fuels; this will have a significant impact on whether the 2020 targets for GHG emissions reductions can be realistically achieved.

Current level and type of ‘renewables’ in Scotland

Despite the sector split in energy demand outlined above, it is difficult to obtain official data showing what type of renewable energy resources are being deployed in which fields.

Although the recently published Compendium is a good source of relevant data, it separates electricity from other forms of energy and does not enable discernment of the penetration of renewables into either heat or transport energy.  Thus despite the fact these are substantial areas of energy demand for Scotland which are important for emissions reduction and renewables deployment, in the absence of rigorous verifiable data the rest of this section concentrates on the current position regarding electricity.

The Compendium presents figures for electricity generated in Scotland over the years 2000-2009, in GWh/y, which reveal a heavy dependence on nuclear power.  The latter clearly raises questions regarding how this non-GHG-emitting form of base-load electricity is to be replaced, given the Scottish Government’s intention to phase out nuclear generation over the next few years; what is clear is that nuclear power will have to play a declining role in the years through to 2020, as one of Scotland’s major stations Hunterston B is scheduled to close in 2015/16.  Furthermore, the document shows that coal and gas will continue to play a very major role in Scotland’s generation mix.  This is partly because they are crucial for ‘peak-shaving’ duty to cater for Scotland’s spiky electricity demand.  In addition to the loss of Hunterston B however there is no planned replacement for Cockenzie coal-fired power station, which is also schedule to close in 2015/16. Ayrshire Power’s proposed coal-fired power plant at Hunterston would be the logical replacement, especially if converted to be a combined heat and power (CHP) plant, but this is currently meeting with large-scale public resistance and may not proceed. Since intermittent renewables cannot deal with peak-shaving or base-load generation, it is difficult to see how this large proportion of electricity generation capacity can be replaced with renewable sources by 2020.

The Compendium presents data for 2009 that show the share of electricity generated from renewable resources to be 20% of the total 51TWh/y.  However, further analysis shows that this is divided between around 10% hydro and circa 11% ‘other renewables’, which, in the absence of contrary information, is assumed to be predominantly wind.  That being the case, in 2009 only about 10% of Scotland’s electricity came from wind, which is contradictory to the 20% figure often quoted in press and media statements. It is important to note that there are several biomass-fired plants operating in Scotland and biomass is also co-fired at Longannet.

The different types of renewable energy resource available for exploitation in Scotland can be divided into three categories based on their intermittency / predictability characteristics:

a) intermittent, unpredictable resources such as wind, solar and wave;

b) intermittent but fairly predictable resources such as tidal;

c) on-demand, predictable resources such as biomass, energy from waste and geothermal.

The simplest renewable energy policy would be to supply most energy from (c), the ‘on-demand’ resources; this is because these technologies most closely resemble the traditional way of producing power and heat in developed countries.  However, they generally involve finite resources, the use of which may or may not be sustainable, and have an operational cost as well as capital expenditure component, so there is a natural interest in considering other types of renewable.

Wind and solar energy are in category (a) and the most difficult types of renewable to integrate into a consumer-demand-driven national system.  The wind blows and the sun shines at times which do not necessarily match consumers’ energy demand.  For example, a solar thermal system will rarely produce hot water in the winter season when it would be most useful.  Yet the intermittent resources available to use are attractive because they come at little or no operating cost and should ultimately lead to less expensive and more sustainable provision of energy in all its useful forms.  To enable this will require the deployment of suitable energy storage devices, which at present are in the very early stages of technical development and unlikely to be available before 2020.  It is evident, therefore, that an energy policy to 2020 which is heavily reliant on wind and solar resources will not meet the current pattern of energy demand without significant back-up capability from other resources which, in the absence of nuclear new build, will need to be in the form of fossil fuels. Given that CCS is not planned for commercial availability until the mid-2020’s, this is not an attractive outcome for emissions reduction. It also ties the country into traditional fuels that will become increasingly expensive over the next few years as international competition for diminishing resources drives price escalation.

Beyond wind and solar there is considerable potential in Scotland for exploitation of the nation’s abundant wave and tidal resource.  Indeed, the Institution is positively supportive of the development of marine renewable devices in Scottish waters.  However, although these technologies are in category (b) and operate in a more predictable manner than wind or solar, there will be times when power production coincides with peak energy demand and times when it does not.  In the absence of deployable energy storage devices with significant capacity, this again will demand a similar source of back-up energy to that described above. The advantage of these technologies is however that the time phase to be covered will be a matter of hours and therefore easier to accommodate than in the case of wind and solar, where the back-up device may have to operate for several days (or even weeks) rather than a few hours; for example, at times of high atmospheric pressure and low wind speeds.

Energy from Biomass, Energy from Waste (EfW) and Geothermal (both naturally occurring hot springs and ‘hot rocks’) technologies fall into category (c) and are different from those mentioned above in that they can usually provide electricity on demand, i.e. are not intermittent;  they are also all capable of additionally providing heat energy.  Furthermore, they not only do not require back-up themselves but are able to provide back-up for intermittent renewable sources. The deployment of these technologies does however in each case have particular issues, for example related to land-use and feedstock security.

The discussion above clearly illustrates that a credible and sustainable energy policy has to be based on an understanding of the energy supply technologies, not on the basis of political expediency. Modern industrialised and post-industrial economies are underpinned by easy access to abundant sources of low-cost energy.  Any government or political party, in today’s world, needs to have an energy policy which is entirely credible.

Current policy thinking

The ‘Power of Scotland Renewed’ paper published by various NGOs in 2009 suggests that a largely renewable energy future for Scotland is within grasp and this perception appears to have influenced both public and Government thinking on the future of Scotland’s energy provision.  Indeed the paper was referenced by the [Glasgow] Herald in a recent article discussing the ‘100% renewable electricity’ debate as showing that “1Scotland could comfortably meet 100% of electricity demand from renewable sources by 2020.”  However, a careful review of the document reveals some important inconsistencies and errors, for example:

- Inherent contradiction. The report claims on page 1: “1Given that the power generation sector is the largest single source of carbon dioxide...”; it further claims on page 10:  “1Electricity generation is responsible for only a small proportion of energy related greenhouse gas emissions. Transport, and to a greater extent heat, make up the majority of Scotland’s greenhouse gas emissions.” Clearly, these are diametrically-opposed views.

- Idealistic solutions. None of the technical issues raised in this IMechE report have been addressed in the five scenarios presented in the paper, which does not provide a practical workable approach for providing a more sustainable energy future for the country.  In particular, the need for large amounts of back-up generation capacity to support the deployment of intermittent renewables on the scale proposed appears to have been largely ignored.

- Inaccurate forecasting; The paper states on page 5:  “1The overwhelming bulk of the reduction in large-scale generation was in the nuclear sector – its share of electricity generation fell from over 33% in 2000 to 25% in 2007.”  Data presented in the Compendium shows that in 2009, 33% of electricity in Scotland was generated from nuclear, so there was virtually no change over the decade.

Although the ‘Power of Scotland Renewed’ paper has contributed significantly to current thinking in Scotland, these inconsistencies combined with the fact that a credible scenario is not presented means that it cannot provide any basis for the nation to deliver on the ambitious 2020 targets.

Review of the Barriers to Scotland achieving its 2020 Targets

Many of the Institution’s members work in the energy sector and are critically involved in delivering the machines, equipment and devices which will be necessary to meet the 2020 targets. In reviewing the practical issues related to achieving a successful outcome the following points can be made:

  - Technology issues:

A number of technologies used in renewable energy systems have been around for a long time, a good example being wind turbines. Nevertheless, significant development work is still taking place even on such well-known technology, to improve efficiency and performance, simplify manufacture and reduce costs, and much design, testing and demonstration work remains to be done to enable offshore deployment, particularly in deep waters. Many believe that Scotland’s future in renewable energy lies with marine devices but the fact remains that there is a great deal of expensive and time-consuming RDD&D work ahead before these devices are available for deployment in large quantities at a meaningful scale.

To support increased use of these renewable sources substantial technology needs to be developed in the areas of smart metering and smart grids, and even more crucially in energy storage. Advances in the latter have been slow to materialise and there are still no readily-available systems on the market.  Until such devices are available, reliable and cost-effective, it is difficult to see how high percentages of intermittent electricity generation can be incorporated into Scotland’s national transmission and distribution system without serious disruption.

  - Infrastructure Issues

The National Grid system built in the UK was originally designed to connect large centralised electricity generating plant to the main industrial users, e.g. in the Scottish case located in the Central Belt.  This situation has changed significantly and the grid is now required to connect increasing numbers of remote power generators using local renewable sources to a much more diverse consumer base.  Furthermore, much of the grid asset is reaching the end of its design life and requires updating.  1A multi-billion pound investment is needed in order to tackle both of these issues and make this infrastructure fit for purpose in the new energy regime.

In addition, the grid connection between Scotland and England is currently used to export up to circa 2GW of excess power from Scotland to England (mainly from Scotland’s nuclear power stations) and may, in the new regime, need to be substantially upgraded to be able to provide the necessary back-up power from England to Scotland to support the large anticipated intermittent renewables sector in Scotland.

Further, in the case of heat energy applications, there is no significant, available delivery network in Scotland and little thought appears as yet to have been given to this issue. Biomethane-to-grid (BtG) is being considered as an option but there will be a ‘wait-and-see’ period, probably of several years, to try to learn from the German and Swedish experience. It is however important to note that the ‘clean-up’ technologies to convert the highly-contaminated biogas to ‘grid-quality’ methane are not yet tried, proven and cost-effective.

  - Skills issues.

Even if it were possible to resolve the technology and infrastructure issues in the short time period to 2020, there are still major concerns in the engineering community regarding Scotland’s ability to provide the human resources necessary to design, project-manage, install and commission the volume of equipment that will be required to meet such ambitious targets.  Recent work done by Institution has shown that there is likely to be a significant shortfall of the required skills throughout the engineering sector.  This is the case across the board from chartered engineers at one end of the spectrum to qualified plumbers and electricians at the other.  Some sources have suggested that to achieve the 2020 targets the number of skilled engineering-sector personnel will have to increase between fivefold and tenfold over the next ten years; this set against a context where many of the limited training places offered in the UK for MScs and PhDs are going to overseas students who then return to their home countries.

Over the past 30 years, virtually all of the major engineering institutions have observed a steady decline in the number of people applying to become Chartered Engineers and this downward trend continues to be the case at the present time. The training of a Chartered Engineer takes many years; from a candidate leaving secondary school for university, to the point of becoming a fully-fledged Chartered Engineer, takes around 10 years.  This situation is exacerbated by the fact that most of Scotland’s universities are currently turning away good quality engineering candidates simply because of the ‘cap’ on numbers that has been imposed by Government.  There is also evidence to suggest that, despite the fact that at Engineering Technician level training does not take as long, the number of young people considering careers in engineering is still declining.

One strategic approach to this challenge might be to assume that appropriately-trained people from overseas will be able and willing to work in the renewable energy sector in Scotland.  However, many countries across the globe are also aiming to meet challenging renewable energy targets over the next few years and it is by no means certain that such people could be attracted to work in the sector in Scotland rather than elsewhere.

Meanwhile, in our research in preparing this report, we have seen no evidence that the skills base necessary to support the Government’s Manifesto pledge of the creation of 130,000 jobs in the ‘green’ energy sector in Scotland is achieveable over the next nine years.

  - Manufacturing capability issues.

As is well documented, over the past 30 years Scotland has declined from being a major engineering/manufacturing centre to having a relatively low capability-base today. Although Scotland is by no means devoid of manufacturing, the country does not have a nearly sufficient manufacturing base for the large volume of equipment which will be required to meet the 2020 targets.

A further challenge to delivery is that there are few manufacturing companies in Scotland making renewable energy equipment.  The companies manufacturing sub-structures for the offshore wind industry are doing well and their contribution is extremely valuable, but the equipment they are making is not ‘renewable energy’ equipment and the description of these as ‘green jobs’ is rather tenuous.  Renewable energy equipment remains the province of overseas manufacturers.  Even the wind turbine tower manufacturing facility in Machrihanish struggles to stay in business despite the enormous number of wind turbines which are forecast to be installed in Scotland over the coming years.

A successful manufacturing base would be provided by a combination of large corporations and SMEs.  Large corporations will only invest in new manufacturing capacity in Scotland if the market conditions are right; this is particularly true of overseas companies without current facilities in the country.  SMEs, on the other hand, particularly those making specialist components as part of a supply chain, are much more likely to want to be able to set up manufacturing facilities in the country, but find the regulations and legislation they have to cope with too daunting.  There is a clear role for Government to actively encourage and assist SMEs to take on the manufacturing roles that are required to support the 2020 objectives.

  - Funding issues.

In the current financial recession SMEs are finding it particularly difficult to access the finances necessary to build their businesses so as to be able to provide the goods and services required to meet the 2020 targets.  Large renewable energy projects, in particular offshore wind, can be funded by multi-national corporations (MNCs) from their own balance sheets, and there is often no need for them to seek external funding.  Whereas SMEs, along with local communities, do not have an equivalent finance base and must obtain funding from external sources for smaller-scale projects and/or manufacturing equipment.  Sources such as banks typically require at least 100% security for any loans advanced which normally takes the form of charges over the homes of the people looking for the loans. In addition high rates of interest and

high bank charges are applied to any loans given. Other investors find the sustainability criteria which underpin the renewable energy sector inconsistent with high profits and tend to avoid the sector.  These issues have the effect of making business opportunities unattractive and therefore stifle an expansion of the renewable energy equipment manufacturing base in Scotland.

Government has an important role to play here in restructuring the Scottish economy and ensuring that SMEs working in the renewables sector can gain access to the finance they need.

Fuel Poverty in Scotland

The 2003 UK Energy White Paper made ‘fuel poverty’ one of its four main policy objectives (along with reduction of CO2 emissions, reliability of energy supply, and maintenance of competitive markets).  While none of these objectives has yet been reached it is clear that, rather than improve, ‘fuel poverty’ has actually worsened over the period since 2003.

The broad definition of ‘f1uel poverty’ is the inability to heat a home to an acceptable standard at a reasonable cost. The Scottish Government’s definition is:  “a household is in fuel poverty if, in order to maintain a satisfactory heating regime, it would be required to spend more than 10% of its income... on all household fuel use.  Extreme Fuel Poverty is defined as being required to spend 20% of income on fuel to maintain an adequate heating regime.”

“The Scottish Government have pledged to ensure that by November 2016, so far as is reasonably practicable, people are not living in fuel poverty in Scotland.”

The recently published Compendium of Scottish Energy Statistics and Information presents data that shows t1he fuel poverty rate in Scotland fell from 35.6% in 1996 to 13.4% in 2002.  However, from that point, fuel poverty has been steadily rising, year-on-year to 32.7% of households in 2009 – almost back to the 1996 levels.  Although in recent years this may be a result of increased fuel prices being only partially offset by rising incomes and energy efficiency increases, the figures reveal that fuel poverty was rising sharply well before the current economic recession began in the UK.

The data presented in the Compendium also shows that households in ‘extreme fuel poverty’ were 8.6% in 1996, falling to 3.2% in 2002 and rising again to 10.3% in 2009.

These figures are considerably higher than for the UK as a whole but are also substantially in excess of the European average, where just 8% of households were inadequately heated in 2009.  Scotland clearly has a particular problem in this area which is not being adequately addressed. To achieve a zero fuel poverty target by 2016 with fuel poverty forecast to continue to rise over the next few years will be a very major challenge, especially with the various market incentives for renewable energy inevitably contributing to higher energy costs.

Summary and Conclusions

This report has presented a practical engineering view of the key issues and challenges to be addressed if Scotland is serious about achieving the ambitious targets which it has set itself for the exploitation of renewable energy sources by 2020.  From the analysis presented it is clear that without substantive and far reaching changes in Government policy, the target will not be met. This is for a number of reasons:

- The Scottish renewable energy announcements are not SMART:

Specific – The targets have been set as percentages (i.e. relative values) which, since the starting point is unknown, are not specific. There are no agreed published targets in absolute terms, e.g TWh/y, for either overall energy supply/demand or its component parts.  Further, established consistent data on current energy supply/demand, other than for electricity, is not available in the public domain. Without such information percentages cannot be described as ‘specific’.

Measurable – In the absence of an agreed starting point it is not possible to measure the changes that would enable the percentage calculations.  Not only does a credible energy policy require a clear starting point and a clear end point, it is important that progress can be measured at ‘milestones’ over the period for which the target is set.

Achievable – From an engineering perspective, if a target is not achievable there is no point setting it. This report has revealed that there is no practical strategy in place to ensure that Scotland will achieve its 20% renewable energy target by 2020 (or its highly ambitious 100% renewable electricity target). Given the significant barriers that need to be urgently overcome, and the large number of wide ranging issues requiring timely resolution, it is doubtful that the present level of activity and commitment are sufficient to actually achieve the targets.

Realistic – For a target to be realistic, it has to be founded in factual data. In the case of a target for exploitation of sources of renewable energy, this translates to a comprehensive engineering based technical assessment of the means by which the target can be realistically met. It is not apparent that any such study has been considered in setting the present renewable energy aspirations for Scotland, as there is no comprehensive engineering assessment in the public domain which would support the targets which have been announced.

Time-based – Any project needs to be bound by time; in this case, the time limit is very clear, December 2020 is 9 years away.  The track record to-date in Scotland is that around 6 TWh/y of electricity was generated from ‘new’ renewables (i.e. not legacy hydro = 4.8 TWh/y) over the past decade, approximately 4.7 TWh/y of this from wind and 1.3 TWh/y from all ‘other’ renewable sources.  If ‘gross electrical consumption’ is taken as 39.2 TWh/y, then the previous 80% target equates to 31.4 TWh/y and the 100% target to 39.2 TWh/y.  Given that almost all of the new installed capacity to 2020 will be on-shore and off-shore wind, this means that new capacity will have to be installed at around four times the rate of the past decade to numerically achieve the 80% target and more than five times the rate, if the 100% target is to be achieved.  Given the barriers to implementation discussed above and the fact that the best sites for onshore wind have already been taken, plus there is, as yet, no data or meaningful experience from offshore wind in the Scottish North Sea, it is not clear from an engineering perspective how this installation rate will be achieved through current policies.

- Present policies have little to say regarding the requirement for back-up generation capacity to support Scotland’s intention to source substantial amounts of power from intermittent renewable energy sources. In the absence of such policies, with the demise of conventional power plant in Scotland the nation will likely become a net importer of electricity received through grid connections with England and Northern Ireland (thus reversing the current situation in which Scotland is a net exporter of electricity which is transmitted through the national grid connections). This gives rise to the paradox that the governing Nationalist party in Scotland has a policy which makes electricity supply highly dependent on England, whereas the Unionist parties have strategies (based on nuclear and fossil fuel exploitation) which gives more independence to the Scottish electricity systems. However, it is important to note that  England and Wales will, through the closure of life-expired conventional power stations, experience a similar reduction in electricity generating capacity to Scotland over the period to 2020, so the electricity may need to be imported from Continental Europe.

- There is an inherent problem in trying to achieve the overall 20% of all energy from renewables largely by electricity, while largely ignoring the needs in the fields of heat and transport.  Electricity is the smallest component of energy demand in Scotland, whereas heat is by far the biggest, and transport energy needs fall between the two.  However, despite this reality there is relatively little emphasis being placed on achieving the 11% and 10% targets for heat and transport respectively.  Furthermore, it would be technically remiss to assume that the renewable heat and transport targets can be reached by a shift of these sectors to electricity; electricity is an inefficient way of providing heat, even using heat pumps instead of direct heating, and runs counter to the Energy Hierarchy.

Recommendations for a Sustainable Scottish Energy Policy

While the Institution of Mechanical Engineers fully support the desire of the Scottish Government to maximise on the enormous potential for renewable energy that exists in Scotland, this aspiration must be moderated by a pragmatic, ‘real world’ approach to what can actually be realised.  Even within the electricity generation sector, a relatively straightforward area compared with heat and transport energy, the ability to achieve large percentages of electricity supply from ‘intermittent’ renewable resources is technically challenging both in engineering and policy terms. As a starting point towards a successful outcome for Scotland’s renewable energy exploitation project the Institution makes the following recommendations.

- The Scottish Government should, as a matter of absolute priority, establish, agree and publish the current position in TWh/y of the gross energy consumption in Scotland in the three component fields of Heat, Transport and Electricity.  It should then determine its targets for 2020 (on SMART principles) in the same three fields.  The inter-relationship between these three fields must be clearly understood and their relative positions in the ‘energy mix’ defined and made publicly available.  Only clearly-defined targets can be intentionally achieved.

- If the present target of 100% electricity from renewable energy sources by 2020 is to be maintained, then the Scottish Government should clearly state their engineering-based methodology for achieving this ambitious targets without delay.  Until a clear methodology exists, the targets are only an aspiration. In this regard Government should consult, without delay, with competent and independent engineering professionals who have knowledge and experience of the actual delivery of major energy projects to establish what level of renewable energy can realistically be built in Scotland and in what time period.  This will involve determining the skills levels, manufacturing capability and planning obstacles (which are still a major problem in Scotland, despite numerous promises to resolve the issue over the years), as well as the numerous outstanding technology and infrastructure issues that still need to be resolved.

- That the Scottish government prioritises the sourcing of secure, reliable energy supplies for the nation’s electricity, heat and transport requirements, while effectively tackling the growing issue of Fuel Poverty.  The latter must be addressed within Scottish energy policy to ensure that an increasing number of people are not tipped into fuel poverty simply because of the increased cost of providing renewable power; such an outcome would create an unsustainable position for the Scottish people.

“1Utility firm reports alarming drop in renewable power output”, Your Renewable News, 04 February 2011; http://www.yourrenewablenews.com/utility+firm+reports+alarming+drop+in+renewable+power+output_59085.html

Source:  Renewable Energy Association (2007)

“The UK Renewable Energy Strategy”, Table 2.1;  BERR (2009);  ISBN: 9780101768627

Directive 2009/28/EC OF THE EUROPEAN PARLIAMENT AND OF THE COUNCIL on the promotion of the use of energy from renewable sources, 23 April 2009.

“Marine Energy – more than just a drop in the Ocean”, Institution of Mechanical Engineers, 2009.

“1SNP’s 100% green aim is ‘a fantasy’” – Herald, 15 April 2011.  http://www.heraldscotland.com/news/election/snp-s-100-green-aim-is-a-fantasy-1.1096491